# ActiveX DLL for Access to MetroPro Data Files

September 11, 2007

## Introduction

Zygo Corporation provides an ActiveX DLL to allow programmers to easily read and write MetroPro data files.  This DLL can be used by any ActiveX enable programming language.  This document describes the interfaces exposed by the DLL, and provides example code.

## Overview

This DLL provides the facilities to perform the following operations:

- Read a standard MetroPro data file containing phase and/or intensity data.

- Get information about the data file from the header and attributes.

- Set information about the data file.

- Save a standard MetroPro data file containing phase and/or intensity data.

- Use of ActiveX objects to manipulate data sets.

- Backward compatibility with the MPVB DLL.

The objects exposed by the DLL each support the manipulation of a single MetroPro data set at a time.  However, multiple objects can be created to manipulate multiple data sets simultaneously.

## Data Types

The following data types are used in this document.  The Visual Basic equivalent data types follow each generic description.  This document uses the Visual Basic names for the data types.

| Generic Description | Visual Basic | C/C++ |
| --- | --- | --- |
| 2-byte signed integer | Integer | short |
| 4-byte signed integer | Long | long |
| 4-byte floating point | Single | float |
| Length prefixed wide character string | String | BSTR |
| Boolean | Boolean | VARIANT_BOOL |

## Contents of the DLL

This section describes the enumerated types and objects exposed by the DLL.

### Enumerated Types

Enumerated types is a user-defined type consisting of named constants.  They are used to make the code more readable when each integer value has a specific meaning.

#### ZygoSoftwareType

Used by the Type property of ZygoSoftwareInfo.

| swtUnknown | 0 |
| --- | --- |
| swtMetroPro | 1 |
| swtMetroBasic | 2 |
| swtDiagnostic | 3 |

#### ZygoSourceAttr

Used by the Source property of ZygoDataAttributes.

| UnknownSource | -1 |
| --- | --- |
| Measured | 0 |
| Generated | 1 |
| Scanned | 2 |

#### ZygoAcquireType

Used by the AcquireType property of ZygoDataAttributes.

| AcqPhase | 0 |
| --- | --- |
| AcqFringe | 1 |
| AcqScan | 2 |
| AcqIntensity | 3 |
| AcqBright | 4 |
| AcqbrightDark | 5 |
| AcqFromFile | 6 |

#### ZygoResolution

Used by the PhaseRes property of ZygoDataAttributes.

| UnknownRes | -1 |
| --- | --- |
| LowRes | 0 |
| HighRes | 1 |
| SuperRes | 2 |

#### ZygoDisconAction

Used by the DisconAction property of ZygoDataAttributes.

| DeleteRegionsWithDiscontinuities | 0 |
| --- | --- |
| DeleteDiscontinuities | 1 |
| IgnoreDiscontinuities | 2 |
| DeleteWithoutChecking | 3 |
| SuperDeleteDiscontinuities | 4 |

#### ZygoConnectionOrder

Used by the ConnectionOrder property of ZygoDataAttributes.

| ConnectByLocation | 0 |
| --- | --- |
| ConnectBySize | 1 |

#### ZygoSystemType

Used by the SystemType property of ZygoDataAttributes.

| sysUnknown | 0 |
| --- | --- |
| sysMark | 1 |
| sysMaxim | 2 |
| sysMaximNT | 3 |
| sysGPI | 4 |
| sysMaximXR | 5 |
| sysMaximGP | 6 |
| sysMaximXRGP | 7 |
| sysMarkGPI | 8 |
| sysRVA | 9 |
| sysMaximVS | 10 |
| sysMaximXRICO | 11 |
| sysMaximGPICO | 12 |
| sysMaximXRGPICO | 13 |
| sysMesa | 14 |
| sysNIF | 15 |
| sysFTP | 16 |
| sysMicroLupi | 17 |
| sysDVD | 18 |
| sysFTPSI | 19 |
| sysMaximDelta | 20 |
| sysSAI | 21 |
| sysNewview6000 | 22 |
| sysGpiCan | 23 |
| sysMarkFP | 24 |

#### ZygoCodeVType

Used by the CodeVType property of ZygoDataAttributes.

| codeVWavefront | 0 |
| --- | --- |
| codeVSurface | 1 |

#### ZygoFdaRes

Used by the FDARes property of ZygoDataAttributes.

| fdaResTest1 | -100 |
| --- | --- |
| fdaResTest2 | -101 |
| fdaResSmooth | -4 |
| fdaResCentroid | -3 |
| fdaResNone | -2 |
| fdaResFineOld | -1 |
| fdaResMedium | 0 |
| fdaResFine | 1 |
| fdaResHigh2g | 3 |
| fdaResDissMin | 8 |
| fdaResDissMax | 9 |
| fdaResPhase1 | 20 |
| fdaResPhase2 | 21 |
| fdaResPhase3 | 22 |

#### ZygoCoherenceMode

Used by the CoherenceMode property of ZygoDataAttributes.

| cohModeNone | 0 |
| --- | --- |
| cohModeStandard | 1 |
| cohModeShort | 2 |

#### ZygoSurfaceFilter

Used by the CoherenceMode property of ZygoDataAttributes.

| surfFilterNone | 0 |
| --- | --- |
| surfFilterStandard | 1 |
| surfFilterRough | 2 |

#### ZygoOrientation

Used by the RcOrientation property of ZygoDataAttributes2.

| zoUnknown | 32 (‘ ‘) |
| --- | --- |
| zoNorth | 78 (‘N’) |
| zoSouth | 83 (‘S’) |
| zoEast | 69 (‘E’) |
| zoWest | 87 (‘W’) |

#### ZygoFtpsiPhaseRes

Used by the FtpsiPhaseResolution property of ZygoDataAttributes2.

| zfprHigh | 0 |
| --- | --- |
| zfprMax | 1 |
| zfprCustom | 2 |

#### ZygoCavityType

Used by the CavityType property of ZygoDataAttributes2.

| zctThin | 0 |
| --- | --- |
| zctThick | 1 |
| zctMedium | 2 |
| zctAuto | 3 |

#### ZygoScanDirection

Used by the ScanDirection property of ZygoDataAttributes2.

| zsdNode | 0 |
| --- | --- |
| zsdUpward | 1 |
| zsdDownward | 2 |

### Objects

#### ZygoSoftwareVersion (IZygoSoftwareVersion interface)

Properties

| Major as Integer | Major version number. |
| --- | --- |
| Minor as Integer | Minor version number. |
| Bug as Integer | Bug version number. |

Methods

| Copy(Source as ZygoSoftwareVersion) | Copies the values of Source. |
| --- | --- |

#### ZygoSoftwareInfo (IZygoSoftwareInfo interface)

Properties

| Type as ZygoSoftwareType | Indicates which program created the data file. |
| --- | --- |
| Date as String | The date the data file was created in the format “Tue Apr 23 14:13:48 EDT 2002”. The value is truncated to 29 characters when the data file is saved. |
| Version as ZygoSoftwareVersion | The version number of the program that created the data file. |

Methods

| Copy(Source as ZygoSoftwareInfo) | Copies the values of Source. |
| --- | --- |

#### ZygoDataLocation (IZygoDataLocation interface)

Properties

| XPosition as Single | The position of the X-axis when the data was measured in inches. |
| --- | --- |
| YPosition as Single | The position of the Y-axis when the data was measured in inches. |
| ZPosition as Single | The position of the Z-axis when the data was measured in inches. |
| XRotation as Single | The rotation of the X-axis (Roll) when the data was measured in degrees. |
| YRotation as Single | The rotation of the Y-axis (Pitch) when the data was measured in degrees. |
| ZRotation as Single | The rotation of the Z-axis (Theta) when the data was measured in degrees. |

Methods

| Copy(Source as ZygoDataLocation) | Copies the values of Source. |
| --- | --- |

#### ZygoDataAttributes (IZygoDataAttributes interface)

Properties

| TimeStamp as Long | The date and time the data was measured. |
| --- | --- |
| Comment as String | User-entered remark line. The value is truncated to 81 characters when the data file is saved. |
| Source as ZygoSourceAttr | Indicates how the data was acquired or generated. |
| IntfScaleFactor as Single | The interferometric scale factor is the number of waves per fringe. |
| WavelengthIn as Single | The wavelength, in meters, at which the interferogram was measured. |
| ObliquityFactor as Single | Phase correction factor required when using a Mirau objective on a microscope. A value of 1.0 indicates no correction. |
| NumericAperture as Single | Equals 1 / (2 * f-number). |
| Magnification as Single | Reserved for future use. |
| LateralResolution as Single | Lateral resolving power of a camera pixel in meters/pixel. A value of 0 means that the value is unknown. |
| AcquireType as ZygoAcquireType | Indicates the setting of the Acquisition Mode control. |
| IntensityAverageCount as Integer | The number of intensity averages performed. Values of 0 or 1 indicate no averaging. |
| PZTCal as Boolean | Indicates whether or not the modulation amplitude was automatically adjusted during acquisition. |
| PZTGainTolerance as Integer | Specifies the PZT error range if PZT calibration was adjusted. |
| PZTGain as Integer | Specifies the modulation amplitude value used during data acquisition. |
| PartThickness as Single | The thickness, in meters, of the part measured. |
| AGC as Boolean | Indicates whether or not automatic gain control was performed during data acquisition. |
| TargetRange as Single | The acceptable tolerance limits of the light intensity used during AGC. |
| RadCrvMeasSeq as Integer |  |
| MinMod as Long | Minimum value of modulation needed to calculate a phase value. |
| MinModCount as Long | Minimum number of data points required to pass MinMod criteria during AGC. |
| PhaseRes as ZygoResolution. | The resolution of the phase data points. LowRes means that each fringe is represented by 4096 counts. HighRes means that each fringe is represented by 32768 counts. |
| MinAreaSize as Long | Minimum number of contiguous data points required for a valid region. |
| DisconAction as ZygoDisconAction | Indicates the action taken when the system encounters discontinuities in phase data. |
| DisconFilter as Single | Specifies the degree to which discontinuities were removed when DisconAction was filtered. |
| ConnectionOrder as ZygoConnectionOrder | Order in which separate regions of phase data are processed. |
| DataSign as Integer | Sign of the data. 0 is normal, 1 is inverted. |
| CameraWidth as Integer | The width (columns) of the usable camera field in pixels. |
| CameraHeight as Integer | The height (rows) of the usable camera field in pixels. |
| SystemType as ZygoSystemType | Indicates the system used to make the measurement. |
| SystemBoard as Integer | Indicates which system board was used when the data measurement was taken. Valid values range from 0 to 7. |
| SystemSerial as Integer | The serial number of the instrument. |
| InstrumentID as Integer | The instrument unit number. Valid values range from 0 to 7. |
| ObjectiveName as String | For microscopes, this is the objective in use. For the GPI, this is the aperture in use. For generated data, this is blank. The value is truncated to 11 characters when the data file is saved. |
| PartName as String | User-entered identified for the part measured. The value is truncated to 39 characters when the data file is saved. |
| CodeVType as ZygoCodeVType | Indicates whether the phase data represents a wavefront or a surface. This is only used by the CODE V program. |
| PhaseAverageCount as Integer | The number of phase averages performed. |
| SubtractSystemError as Boolean | Indicates whether or not the system error was subtracted from the phase data. |
| PartSerialNumber as String | User-entered serial number for the part. The value is truncated to 39 characters when the data file is saved. |
| RefractiveIndex as Single | Index of refraction as specified by the user. This is used only in the calculation of corner cube dihedral angles. |
| RemoveTiltBias as Boolean | Indicates whether or not the tilt bias was removed from the phase data. |
| RemoveFringes s Boolean | Indicates whether or not fringes were removed from the intensity data. |
| MaxAreaSize as Long | Maximum number of contiguous data points required for a valid phase data region. Any larger regions are deleted. |
| SetupType as Integer | Identifies the different setup used by the Angle Measurement Application. |
| Wrapped as Boolean |  |
| PreConnectFilter as Single | The amount of filtering done to wrapped phase data. |
| WavelengthIn2 as Single | The value from the Wavelength-In 2 control, if relevant to the measurement. |
| WavelengthFold as Boolean | Indicates whether or not two wavelength folding is on. |
| WavelengthIn1 as Single | The value from the Wavelength-In 1 control, if relevant to the measurement. |
| WavelengthIn3 as Single | The value from the Wavelength-In 3 control, if relevant to the measurement. |
| WavelengthIn4 as Single | The value from the Wavelength-In 4 control, if relevant to the measurement. |
| WavelengthSelect as String | The value of the Wavelength Select control, if relevant to the measurement. The value is truncated to 7 characters when the data file is saved. |
| FDARes as ZygoFdaRes | Indicates the setting of the FDA Res control for a measurement when the Acquisition Mode control is set to Scan. |
| ScanDescription as String | Description of the scan for a measurement when the Acquisition Mode control is set to Scan. The value is truncated to 19 characters when the data file is saved. A sample string is “5 um bipolar”. |
| NFiducials as Integer | The number of fiducials defined. |
| FiducialX(Index as Long) as Single | The X component of the fiducial’s coordinates specified by Index. Index can range from 1 to 7. The coordinate system is the camera’s and (0,0) is in the upper left corner of the video monitor. |
| FiducialY(Index as Long) as Single | The Y component of the fiducial’s coordinates specified by Index. Index can range from 1 to 7. The coordinate system is the camera’s and (0,0) is in the upper left corner of the video monitor. |
| PixelWidth as Single | The effective camera pixel width (spacing) in meters. Effects the scaling of Mask Editor figures. If zero, default values are assumed. Not the same as LateralResolution. |
| PixelHeight as Single | The effective camera pixel height (spacing) in meters. Effects the scaling of Mask Editor figures. If zero, default values are assumed. Not the same as LateralResolution. |
| ExitPupilDiameter as Single | The exit pupil diameter setting used during data acquisition. |
| LightLevelPercent as Single | The light level percent used during data acquisition. |
| CoordinateState as Long | Indicates whether or not the coordinates in the Coordinates property are valid. 0 indicates invalid coordinates. |
| Coordinates as ZygoDataLocation | Coordinates of the stage during data acquisition. |
| CoherenceMode as ZygoCoherenceMode | The coherence mode setting used during data acquisition. |
| SurfaceFilter as ZygoSurfaceFilter | The surface filter setting used during data acquisition. |
| SystemErrorFileName as String | User-entered name of the file containing the system error data. The value is truncated to 27 characters when the data file is saved. |
| ZoomDescription as String | Value of the image zoom used during data acquisition. The value is truncated to 7 characters when the data file is saved. |
| AplhaPart as Single |  |
| BetaPart as Single |  |
| DistancePart as Single |  |
| CameraSplitLocationX as Integer |  |
| CameraSplitLocationY as Integer |  |
| CameraSplitTransX as Integer |  |
| CameraSplitTransY as Integer |  |
| MaterialA as String | The value is truncated to 23 characters when the data file is saved. |
| MaterialB as String | The value is truncated to 23 characters when the data file is saved. |
| CameraSplitUnused as Integer |  |
| DMICenterX as Single |  |
| DMICenterY as Single |  |
| SphDistCorr as Boolean |  |
| SphDistPartNa as Single |  |
| SphDistPartRadius as Single |  |
| SphDistCalNa as Single |  |
| SphDistCalRadius as Single |  |
| SurfaceType as Integer |  |
| ZPosition as Single |  |
| PowerMultiplier as Single |  |
| FocusMultiplier as Single |  |
| RadCrvFocusCalFactor as Single |  |
| RadCrvPowerCalFactor as Single |  |

Methods

| Copy(Source as ZygoDataAttributes) | Copies the values of Source. |
| --- | --- |

#### ZygoDataAttributes  (IZygoDataAttributes2 interface)

Properties

| AcSurfaceType as Integer |  |
| --- | --- |
| CalPixelLocationX as Integer | X coordinate of cal pixel in camera coordinates |
| CalPixelLocationY as Integer | Y coordinate of cal pixel in camera coordinates |
| CameraFrameRate as Single |  |
| CavityType as ZygoZavityType |  |
| FilmsDataFormat as Integer |  |
| FilmsMaxReflRatio as Single |  |
| FilmsMaxThickness as Single |  |
| FilmsMinMod as Single |  |
| FilmsMinReflRatio as Single |  |
| FilmsMinThickness as Single |  |
| FilmsMode as Integer |  |
| FilmsObliquityCorrection as Single |  |
| FilmsReflectivityRatio as Integer |  |
| FilmsRefractionIndex as Single |  |
| FilmsSystemCharacterizationFileName as String |  |
| FilmsMeritMode as Integer |  |
| FilmsH2G as Integer |  |
| FlashPhaseAliasMask as Single |  |
| FlashPhaseDcMask as Single |  |
| FlashPhaseFilter as Single |  |
| FramesAcquired as Integer |  |
| FtpLeftPosition as Single |  |
| FtpPitchPosition as Single |  |
| FtpRightPosition as Single |  |
| FtpRollPosition as Single |  |
| FtpsiPhaseResolution as ZygoFtpsiPhaseRes |  |
| FtpsiResolutionFactor as Single |  |
| MaxIntensity as Long | Maximum intensity from frame grabber |
| MinModPercent as Single | Min Mod as a percent |
| RcAngle as Single |  |
| RcDiameter as Single |  |
| RcDistance as Single |  |
| RcOrientation as ZygoOrientation |  |
| ReferenceCalPixelOpd as Single |  |
| ReferenceCalPointCount as Integer |  |
| ReferenceCalPointX as Single |  |
| ReferenceCalPointY as Single |  |
| RemoveFringesMode as Boolean |  |
| RingOfFire as Boolean |  |
| ScanDirection as ZygoScanDirection |  |
| SystemSerial2 as Long |  |
| TestCalPixelOpd as Single |  |
| TestCalPointCount as Integer |  |
| TestCalPointX as Single |  |
| TestCalPointY as Single |  |
| TuneRange as Single | Optical frequency excursion (Hz) |

Methods

| Copy(Source as IZygoDataAttributes2) | Copies the values of Source. |
| --- | --- |

#### ZygoDataFileHeader (IZygoDataFileHeader interface)

Properties

| MagicNumber as Long | Indicates whether or not the file is a valid MetroPro file. The file is valid only if the value is –2011495569 (881B036F hex). |
| --- | --- |
| HeaderFormat as Integer | Indicates the format of the header. This is always 1. |
| HeaderSize as Long | The size of the header in bytes. This should always be 834. |
| SoftwareInfo as ZygoSoftwareInfo | Software date, type and version. |
| IntensOriginX as Integer | The X component of the origin of the intensity data matrix. The coordinate system is the camera’s and (0,0) is in the upper left corner of the video monitor. |
| IntensOriginY as Integer | The Y component of the origin of the intensity data matrix. The coordinate system is the camera’s and (0,0) is in the upper left corner of the video monitor. |
| IntensWidth as Integer | The width (number of columns) of the intensity data matrix. If no intensity data matrix is present, then this value is zero. |
| IntensHeight as Integer | The height (number of rows) of the intensity data matrix. If no intensity data matrix is present, then this value is zero. |
| IntensNumBuckets as Integer | The number of buckets of intensity data that are stored. If no intensity data matrix is present, then this value is zero. |
| IntensRange as Integer | Maximum possible value of an intensity data point. |
| IntensNumBytes as Long | Number of bytes of intensity data stored. This value is equal to IntensWidth * IntensHeight * IntensNumBuckets * 2. |
| PhaseOriginX as Integer | The X component of the origin of the phase data matrix. The coordinate system is the camera’s and (0,0) is in the upper left corner of the video monitor. |
| PhaseOriginY as Integer | The Y component of the origin of the phase data matrix. The coordinate system is the camera’s and (0,0) is in the upper left corner of the video monitor. |
| PhaseWidth as Integer | The width (number of columns) of the phase data matrix. If no phase data matrix is present, then this value is zero. |
| PhaseHeight as Integer | The height (number of rows) of the phase data matrix. If no phase data matrix is present, then this value is zero. |
| PhaseNumBytes as Long | Number of bytes of phase data stored. This value is equal to PhaseWidth * PhaseHeight * 4. |
| Attr as ZygoDataAttributes | Attributes of the data. |

Methods

| Copy(Source as ZygoDataFileHeader) | Copies the values of Source. |
| --- | --- |

#### ZygoDataWindow (IZygoDataWindow interface)

Properties

| X as Integer | The X component of the origin of the data matrix. |
| --- | --- |
| Y as Integer | The Y component of the origin of the data matrix. |
| Width as Integer | The width (number of columns) of the data matrix. |
| Height as Integer | The height (number of rows) of the data matrix. |

Methods

| Copy(Source as ZygoDataWindow) | Copies the values of Source. |
| --- | --- |

#### ZygoDataMatrix (IZygoDataMatrix interface)

Properties

| Window as ZygoDataWindow | Specifies the origin and size of the data matrix. The X, Y, Width, and Height values are the same as PhaseOriginX, PhaseOriginY, PhaseWidth, and PhaseHeight in ZygoDataFileHeader. |
| --- | --- |
| Matrix as Variant | 2D array of Longs representing the phase data. The first dimension is the columns, and the second is the rows. Matrix(column, row). |

Methods

| Copy(Source as ZygoDataMatrix) | Copies the values of Source. |
| --- | --- |

#### ZygoIntensityMatrix (IZygoIntensityMatrix interface)

Properties

| Window as ZygoDataWindow | Specifies the origin and size of the data matrix. The X, Y, Width, and Height values are the same as IntensOriginX, IntensOriginY, IntensWidth, and IntensHeight in ZygoDataFileHeader. |
| --- | --- |
| Matrix as Variant | 3D array of Integers representing the intensity data. The first dimension is the columns, the second is the rows and the third is the buckets. Matrix(column, row, bucket). |
| Range as Integer | Maximum possible value of an intensity data point. This value is the same as IntensRange in ZygoDataFileHeader. |
| NumBuckets as Integer | Read Only. The number of buckets of intensity data that are stored. This value is the same as IntensNumBuckets in ZygoDataFileHeader. |

Methods

| Copy(Source as ZygoIntensityMatrix) | Copies the values of Source. |
| --- | --- |

#### ZygoDataFile (IZygoDataFile interface)

Properties

| Header as ZygoDataFileHeader | Data file header. |
| --- | --- |
| Attribute as ZygoDataAttributes | Data file attributes. |
| PhaseData as ZygoDataMatrix | Phase data. |
| IntensityData as ZygoIntensityMatrix | Intensity data. |
| InvalidPhase as Long | Read Only. Minimum value of phase data that indicates the data point is not valid. |

Methods

| LoadData(FileName as String) | Loads the data file specified by FileName. |
| --- | --- |
| SaveData(FileName as String) | Saves the current information to the data file specified by FileName. When the data is saved, the values for the phase and intensity origin and dimensions in ZygoDataFileHeader are overwritten with the values from ZygoDataMatrix and ZygoIntensityMatrix. |
| Clear() | Removes phase and intensity data and resets all header and attribute values to their default values. |

### Objects for Backward Compatibility

These objects are provided for the purpose of backward compatibility with the MPVB DLL.  In the MPVB DLL, MetroProDataAttr was defined in a Visual Basic Module as a public structure using the Type keyword.  That module also defined the calls into the MPVB DLL using the Declare keyword.  The following objects provide the same functionality while requiring few code changes.

#### MetroProDataAttr (IMetroProDataAttr interface)

Properties

| CameraCols as Integer | The number of columns (width) of the usable camera field in pixels. |
| --- | --- |
| CameraRows as Integer | The number of rows (height) of the usable camera field in pixels. |
| CameraRes as Single | Lateral resolving power of a camera pixel in meters/pixel. A value of 0 means that the value is unknown. |
| IntensMatOrgX as Integer | The X component of the origin of the intensity data matrix. The coordinate system is the camera’s and (0,0) is in the upper left corner of the video monitor. |
| IntensMatOrgY as Integer | The Y component of the origin of the intensity data matrix. The coordinate system is the camera’s and (0,0) is in the upper left corner of the video monitor. |
| IntensMatCols as Integer | The number of columns (width) of the intensity data matrix. If no intensity data matrix is present, then this value is zero. |
| IntensMatRows as Integer | The number of rows (height) of the intensity data matrix. If no intensity data matrix is present, then this value is zero. |
| IntensMatBuckets as Integer | The number of buckets of intensity data that are stored. If no intensity data matrix is present, then this value is zero. |
| PhaseMatOrgX as Integer | The X component of the origin of the phase data matrix. The coordinate system is the camera’s and (0,0) is in the upper left corner of the video monitor. |
| PhaseMatOrgY as Integer | The Y component of the origin of the phase data matrix. The coordinate system is the camera’s and (0,0) is in the upper left corner of the video monitor. |
| PhaseMatCols as Integer | The number of columns (width) of the phase data matrix. If no phase data matrix is present, then this value is zero. |
| PhaseMatRows as Integer | The number of rows (height) of the phase data matrix. If no phase data matrix is present, then this value is zero. |
| PhaseRes as Integer | The resolution of the phase data points. 0 means that each fringe is represented by 4096 counts. 1 means that each fringe is represented by 32768 counts. |
| IntfScaleFactor as Single | The interferometric scale factor is the number of waves per fringe. |
| WavelengthIn as Single | The wavelength, in meters, at which the interferogram was measured. |
| ObliquityFactor as Single | Phase correction factor required when using a Mirau objective on a microscope. A value of 1.0 indicates no correction. |
| NumAperture as Single | Equals 1 / (2 * f-number). |
| AcquireType as Integer | Indicates the setting of the Acquisition Mode control. See ZygoAcquireType for values. |
| IntensAvgCount as Integer | The number of intensity averages performed. Values of 0 or 1 indicate no averaging. |
| PztCal as Integer | Indicates whether or not the modulation amplitude was automatically adjusted during acquisition. A value of 0 indicates that no adjustment was performed. |
| PztGain as Integer | Specifies the modulation amplitude value used during data acquisition. |
| PartThickness as Single | The thickness, in meters, of the part measured. |
| AGC as Integer | Indicates whether or not automatic gain control was performed during data acquisition. A value of 0 indicates no AGC was performed. |
| Sign as Integer | Sign of the data. 0 is normal, 1 is inverted. |
| Comment as String | User-entered remark line. The value is truncated to 81 characters when the data file is saved. |
| PartName as String | User-entered identified for the part measured. The value is truncated to 39 characters when the data file is saved. |
| PartSerNum as String | User-entered serial number for the part. The value is truncated to 39 characters when the data file is saved. |

Methods

| Copy(Source as MetroProDataAttr) | Copies the values of Source. |
| --- | --- |

#### MetroProDataFile (IMetroProDataFile interface)

Note: Multiple data files can be loaded by creating multiple MetroProDataFile objects and loading one data file with each object.

Methods

| LoadMetroProDataFile( FileName as String, pAttr as MetroProDataAttr ) as Integer | Loads the data file specified by FileName. The data files attributes are returned in pAttr. A return value of 0 indicates no error. |
| --- | --- |
| SaveMetroProDataFile( FileName as String, pAttr as MetroProDataAttr ) as Integer | Saves the attributes specified by pAttr and the current phase and intensity data to the data file specified by FileName. A return value of 0 indicates no error. |
| ResetMetroProData() | Removes phase and intensity data and resets all header and attribute values to their default values. |
| GetMetroProPhaseData( PhaseDataArray as Variant ) as Integer | Returns the phase data in PhaseDataArray. PhaseDataArray must either be a properly dimensioned 2D array of Longs or and empty Variant. A return value of 0 indicates no error. |
| SetMetroProPhaseData( PhaseDataArray as Variant ) as Integer | Sets the phase data to PhaseDataArray. A return value of 0 indicates no error. |
| GetMetroProIntensData IntensDataArray as Variant ) as Integer | Returns the phase data in IntensDataArray. IntensDataArray must either be a properly dimensioned 3D array of Integers or and empty Variant. A return value of 0 indicates no error. |
| SetMetroProIntensData IntensDataArray as Variant ) as Integer | Sets the phase data to IntensDataArray. A return value of 0 indicates no error. |

## Installing the DLL

### Manual Installation

Step 1:	Copy the DLL and the type library (TLB) onto you hard drive.  The files can be placed in any directory, but typical locations are the System32 directory in Windows directory or in the metropro\bin directory.

Step 2:	Register the DLL.  This can be done any number of ways.

- From the command line, type “regsvr32 <DLL_NAME>” where <DLL_NAME> is the full path and file name for the DLL.  If there are spaces in the path or filename, then the path and file name needs to be placed in double quotes (“).

- From Windows Explorer right-click on the file and select “Open with…”.  If you are asked select a file to open the DLL, select regsvr32 or click on the “Other…” button and find regsvr32.  Finally click the “OK” button.

- From Visual Basic, select the “Project ( References…” menu item.  The click on the “Browse…” button.  Select the directory in which the type library is located (from step 1) and select the type library.  Finally click the “Open” button.

The DLL is now registered with your system.

## Using the DLL

### Visual Basic

Start a new project or open an existing project.  Select the “Project ( References…” menu item.  Check the “MetroPro DAT #.# Type Library” (where #.# is a version number) from the list box and click “OK”.

### Microsoft Visual C++

Start a new project or open an existing project.  Open the “MFC Class Wizard” by pressing CTRL-W or selecting the “View ( Class Wizard…” menu item.  Click the “Add Class…” button and select “From type library…”.  Select all the objects that you want available to your project and click OK.  Finally close the MFC Class Wizard.

The above procedure makes the objects available to the current project.

### Microsoft Visual C++ 7

Start a new project or open an existing project.  Import classes from the type library by selecting the “Project ( Add Class…” menu item.  Select the “MFC Class From TypeLib” template and click Open.  Next, select the MetroProDAT type library from the list or browse to select the MetroProDAT.dll file.  Select all the objects that you want available to your project and click Finish.

The above procedure makes the objects available to the current project.

### Accessing IZygoDataAttributes2 Attributes

The ZygoDataAttributes class supports both the IZygoDataAttributes interface and the IZygoDataAttributes2 interface.  By default, the IZygoDataAttributes interface is used, so to get access to the IZygoDataAttributes2 properties, the ZygoDataAttributes variable must be cast to an IZygoDataAttributes2 variable.

Visual Basic

Dim file As ZygoDataFile

Dim attr As ZygoDataAttributes

Dim attr2 As IZygoDataAttributes2

‘ Code to create and load the data file omitted

‘ Get the attributes using the IZygoDataAttributes interface

Set attr = file.Attribute

‘ Get the attributes using the IZygoDataAttributes2 interface

Set attr2 = attr

Microsoft Visual C++ 7

CZygoDataFile file;

// Code to create and load the data file omitted

// Get the attributes using the IZygoDataAttributes interface

CZygoDataAttributes attr(file.get_Attribute());

// Get the attributes using the IZygoDataAttributes2 interface

CZygoDataAttributes2 attr2(file.get_Attribute());

## Reading A MetroPro Data File

The following sample code shows how to read a MetroPro data file and convert the phase data from zygos to waves.

Public Sub LoadData(ByVal FileName As String)

Dim oData           As ZygoDataFile

Dim Attr            As ZygoDataAttributes

Dim Phase           As ZygoDataMatrix

Dim Intens          As ZygoIntensityMatrix

Dim ConvFactor      As Single

Dim InvalidPhase    As Long

Dim PhaseData()     As Long

Dim PhaseF()        As Single

Dim idx             As Long

Dim jdx             As Long

' Create the data file object

Set oData = New ZygoDataFile

Set Attr = oData.Attribute

' Load the data

oData.LoadData FileName

' Get the phase and intensity data

Set Intens = oData.IntensityData

Set Phase = oData.PhaseData

' Create the array of converted phase data

ReDim PhaseF(LBound(Phase.Matrix, 1) To UBound(Phase.Matrix, 1), _

LBound(Phase.Matrix, 2) To UBound(Phase.Matrix, 2) _

) As Single

' Get the value of invalid data

InvalidPhase = oData.InvalidPhase

' Get the conversion factor

ConvFactor = Attr.IntfScaleFactor * Attr.ObliquityFactor

If (Attr.PhaseRes = HighRes) Then

ConvFactor = ConvFactor / 32768

Else

ConvFactor = ConvFactor / 4096

End If

' Convert the phase data from zygos to waves

PhaseData = Phase.Matrix

For idx = LBound(PhaseF, 1) To UBound(PhaseF, 1)

For jdx = LBound(PhaseF, 2) To UBound(PhaseF, 2)

If (PhaseData(idx, jdx) >= InvalidPhase) Then

PhaseF(idx, jdx) = 0

Else

PhaseF(idx, jdx) = ConvFactor * PhaseData(idx, jdx)

End If

Next jdx

Next idx

' Delete the data file object

Set oData = Nothing

End Sub

### Backward Compatible Format

The following sample code shows how to read a MetroPro data file and convert the phase data from zygos to waves.  The bold line shows the only change needed to existing code.

Public Sub ReadMetroProDataFile(ByVal PathName As String)

Dim Attr As MetroProDataAttr

Dim nPhaseRows As Integer

Dim nPhaseCols As Integer

Dim nIntensRows As Integer

Dim nIntensCols As Integer

Dim nBuckets As Integer

Dim Err As Integer

Dim ErrMsg As String

Dim IntensMat() As Long

Dim PhaseMat() As Long

Dim PhaseMatF() As Single

Dim ZygosPerFringe As Long

Dim PhaseVal As Long

Dim ConvFactor As Single

Dim nRow As Integer

Dim nCol As Integer

Dim InvalidInten As Long

Dim InvalidPhase As Long

Const NO_ERROR As Integer = 0

Set Attr = New MetroProDataAttr

InvalidInten = 64512

InvalidPhase = 2147483640

Err = NO_ERROR

' Load the data file

Err = LoadMetroProDataFile(PathName, Attr)

If (Err <> NO_ERROR) Then

ErrMsg = "Error reading data file " & PathName

MsgBox ErrMsg

Exit Sub

End If

' Set size of Intensity and Phase arrays based on

' row and column attributes returned in MetroProDataAttr parameter

nPhaseRows = Attr.PhaseMatRows

nPhaseCols = Attr.PhaseMatCols

nIntensRows = Attr.IntensMatRows

nIntensCols = Attr.IntensMatCols

nBuckets = Attr.IntensMatBuckets

If (nPhaseRows <> 0 And nPhaseCols <> 0) Then

' Resize phase matrices

ReDim PhaseMat(0 To nPhaseCols - 1, 0 To nPhaseRows - 1)

ReDim PhaseMatF(0 To nPhaseCols - 1, 0 To nPhaseRows - 1)

' Get the loaded phase matrix into PhaseMat

Err = GetMetroProPhaseData(PhaseMat)

If (Err <> NO_ERROR) Then Exit Sub

End If

If (nIntensRows <> 0 And nIntensCols <> 0) Then

' Resize intensity matrix

ReDim IntensMat(0 To nIntensCols - 1, _

0 To nIntensRows - 1, _

0 To nBuckets - 1)

' Get the loaded intensity matrix into IntensMat

Err = GetMetroProIntensData(IntensMat)

If (Err <> NO_ERROR) Then Exit Sub

End If

' Calculate factor to convert phase values

' from zygos to waves

If Attr.PhaseRes = 0 Then

ZygosPerFringe = 4096

Else

ZygosPerFringe = 32768

End If

ConvFactor = (Attr.IntfScaleFactor * Attr.ObliquityFactor) _

/ ZygosPerFringe

' Convert phase values to waves

For nCol = 0 To Attr.PhaseMatCols - 1

For nRow = 0 To Attr.PhaseMatRows - 1

PhaseVal = PhaseMat(nCol, nRow)

If (PhaseVal < InvalidPhase) Then

PhaseMatF(nCol, nRow) = ConvFactor * PhaseVal

Else

PhaseMatF(nCol, nRow) = 0!

End If

Next nRow

Next nCol

End Sub

## Writing A MetroPro Data File

The following sample code shows how to generate a MetroPro data file.  The phase data is generated as waves and is then converted to zygos.  The bold line shows the only change needed to existing code.

Public Sub SaveData(ByVal FileName As String)

Dim oData       As ZygoDataFile

Dim Attr        As ZygoDataAttributes

Dim Phase       As ZygoDataMatrix

Dim idx         As Long

Dim jdx         As Long

Dim PhaseData() As Long

Dim PhaseF()    As Single

Dim ConvFactor  As Single

' Create the data file object

Set oData = New ZygoDataFile

Set Attr = oData.Attribute

' Make changes to the attributes

With Attr

.CameraWidth = 320

.CameraHeight = 240

.LateralResolution = 0.000000001

.PhaseRes = HighRes

.RefractiveIndex = 1

.PixelWidth = 0.000022

.PixelHeight = 0.000022

End With

' Resize the data matrix

ReDim PhaseF(0 To Attr.CameraWidth - 1, _

0 To Attr.CameraHeight - 1) As Single

' Generate PhaseF matrix (in waves)

' The surface function is: Z = 0.001 * (col + row)

' which is a tilted plane

For idx = LBound(PhaseF, 1) To UBound(PhaseF, 1)

For jdx = LBound(PhaseF, 2) To UBound(PhaseF, 2)

PhaseF(idx, jdx) = 0.001 * (idx + jdx)

Next jdx

Next idx

' Get the conversion factor

ConvFactor = Attr.IntfScaleFactor * Attr.ObliquityFactor

If (Attr.PhaseRes = HighRes) Then

ConvFactor = 32768 / ConvFactor

Else

ConvFactor = 4096 / ConvFactor

End If

' Resize the phase data

ReDim PhaseData(0 To Attr.CameraWidth - 1, _

0 To Attr.CameraHeight - 1) As Long

' Convert the PhaseF data to zygos

For idx = LBound(PhaseF, 1) To UBound(PhaseF, 1)

For jdx = LBound(PhaseF, 2) To UBound(PhaseF, 2)

PhaseData(idx, jdx) = ConvFactor * PhaseF(idx, jdx)

Next jdx

Next idx

' Save the phase data

oData.PhaseData.Matrix = PhaseData

' Save the data file

oData.SaveData FileName

' Delete the data file object

Set oData = Nothing

End Sub

### Backward Compatible Format

The following sample code shows how to generate a MetroPro data file.  The phase data is generated as waves and is then converted to zygos.  The bold line shows the only change needed to existing code.

Public Sub WriteMetroProDataFile(ByVal PathName As String)

Dim Attr As MetroProDataAttr

Dim PhaseMatF() As Single

Dim PhaseMat() As Long

Dim ZygosPerFringe As Long

Dim PhaseVal As Long

Dim ConvFactor As Single

Dim C As Single

Dim row As Integer

Dim col As Integer

Dim nRows As Integer

Dim nCols As Integer

Dim Err As Integer

Const NO_ERROR As Integer = 0

Set Attr = New MetroProDataAttr

Err = NO_ERROR

' Clear any previous MetroPro data

' (matrices and attributes)

ResetMetroProData

' Generate PhaseMatF matrix (in waves)

' The surface function is: Z = C * (col + row)

' which should be a tilted plane

nCols = 320

nRows = 240

C = 0.001

ReDim PhaseMat(0 To nCols - 1, 0 To nRows - 1) As Long

ReDim PhaseMatF(0 To nCols - 1, 0 To nRows - 1) As Single

For col = 0 To nCols - 1

For row = 0 To nRows - 1

PhaseMatF(col, row) = C * (col + row)

Next row

Next col

' Assign required attribute values

Attr.CameraCols = nCols

Attr.CameraRows = nRows

Attr.CameraRes = 0!

Attr.PhaseRes = 1

Attr.IntfScaleFactor = 0.5

Attr.ObliquityFactor = 1!

' Calculate factor to convert phase values

' from waves to zygos

If (Attr.PhaseRes = 0) Then

ZygosPerFringe = 4096

Else

ZygosPerFringe = 32768

End If

ConvFactor = ZygosPerFringe / _

(Attr.IntfScaleFactor * Attr.ObliquityFactor)

' Convert phase values to zygos and load PhaseMat matrix

For col = 0 To nCols - 1

For row = 0 To nRows - 1

PhaseMat(col, row) = PhaseMatF(col, row) * ConvFactor

Next row

Next col

' Set PhaseMat as the matrix to be saved in the file

Err = SetMetroProPhaseData(PhaseMat)

' Save the data file

Err = SaveMetroProDataFile(PathName, Attr)

If (Err <> NO_ERROR) Then

MsgBox "Unable to save MetroPro Data file.", vbOKOnly, "Error"

End If

End Sub