## mono
energy | 15 | KeV
unit cell size | 5.4309e-10 | m | direction of normal |  | direction in vertical plane
h of q | 3 |  | h of normal | 0 | h of normal | 2
k of q | 3 |  | k of normal | 0 | k of normal | 2
l of q | 1 |  | l of normal | 1 | l of normal | 0
thetaB | 19.3722
angles in transmission geometry |  |  | angles in reflection geometry
2 theta | 38.7444 | degrees
theta shift | 13.2627 | degrees | 76.7373
theta goni | 6.1095 | degrees

## diamond
energy | 15 | KeV | energy measurement |  |  | h | k | l | thetaB | 2thetaB
unit cell size | 3.5597e-10 | m | +thetaB 400 | 24.97 | deg | 0 | 0 | 4 | 27.6717 | 55.3433
thetaB 400 | 27.6717 | deg | -thetaB 400 | -31.02 | deg | 0 | 2 | 2 | 19.1707 | 38.3413
2thetaB 400 | 55.3433 | deg | thetaB 400 | 27.995 | deg | 0 | 2 | 6 | 47.247 | 94.494
thetaB 220 | 19.1707 | deg |  |  |  | 1 | 1 | 1 | 11.6009 | 23.2017
2thetaB 220 | 38.3413 | deg |  |  |  | 1 | 1 | 3 | 22.6477 | 45.2954
thetaB 440 | 41.0537 | deg |  |  |  | 1 | 1 | 5 | 37.1051 | 74.2101
2thetaB 440 | 82.1074 | deg |  |  |  | 1 | 3 | 3 | 30.4026 | 60.8051
[6 empty] | 1 | 3 | 5 | 43.3823 | 86.7645
[6 empty] | 1 | 5 | 5 | 56.0091 | 112.0183
[6 empty] | 2 | 2 | 4 | 34.6649 | 69.3299
[6 empty] | 2 | 4 | 6 | 60.3218 | 120.6437
[6 empty] | 3 | 3 | 3 | 37.1051 | 74.2101
[6 empty] | 3 | 3 | 5 | 49.5812 | 99.1623
[6 empty] | 3 | 5 | 5 | 63.0989 | 126.1977
[6 empty] | 4 | 4 | 4 | 53.5496 | 107.0991