## Sheet1
Criteria for choice of type and length of signal cables from microscope [fixed array] to electronics racks
Properties of RG-58A/U (Belden 9907, see http://datasheet.octopart.com/9907-E4X500-Belden-datasheet-7046.pdf)
frequency |  | length |  | attenuation |  | loss @ | 40 | ft
1 | MHz | 100 | ft | 0.43 | dB | 0.96117 | 40 | ft
10 | MHz | 100 | ft | 1.3 | dB | 0.88716 | 40 | ft
50 | MHz | 100 | ft | 2.91 | dB | 0.76489 | 40 | ft
100 | MHz | 100 | ft | 4.2 | dB | 0.6792 | 40 | ft
200 | MHz | 100 | ft | 6.1 | dB | 0.57016 | 40 | ft
400 | MHz | 100 | ft | 8.9 | dB | 0.44055 | 40 | ft
700 | MHz | 100 | ft | 12.1 | dB | 0.3281 | 40 | ft
900 | MHz | 100 | ft | 13.9 | dB | 0.27797 | 40 | ft
1000 | MHz | 100 | ft | 14.8 | dB | 0.25586 | 40 | ft
Signal bandwidth from tagger microscope preamp is 100 MHz
To see attenuation effects for different cable lengths, modify the cell above highlighted in green
Properties of RG-174 (see http://www.universal-radio.com/catalog/cable/2632.html)
frequency |  | length |  | attenuation |  | loss @ | 20 | ft
30 | MHz | 100 | ft | 5.5 | dB | 0.77625 | 20 | ft
50 | MHz | 100 | ft | 6.6 | dB | 0.7379 | 20 | ft
100 | MHz | 100 | ft | 8.8 | dB | 0.66681 | 20 | ft
146 | MHz | 100 | ft | 13 | dB | 0.54954 | 20 | ft
440 | MHz | 100 | ft | 25 | dB | 0.31623 | 20 | ft
1000 | MHz | 100 | ft | 34 | dB | 0.20893 | 20 | ft
2400 | MHz | 100 | ft | 75 | dB | 0.031623 | 20 | ft