## Slide 1
Chart: Time (ns)
Chart: Time (ns)
Single channel readout of one biased SiPM
Summed readout of one biased SiPM
Comparison between the individual and summed readouts

## Slide 2
Chart: Time (ns)
Cross talk between summers for single biased SiPM
Chart: Time (ns)
Low light amplitude
High light amplitude

## Slide 3
Chart: Time (ns)
Saturation of a single SiPM in high gain mode

## Slide 4
Chart: Voltage (V)
| 4.1900000000000004 | 4.3899999999999997 | 4.59 | 4.79 | 4.99 | 5.19 | 5.39 | 5.59 | 5.79 | 5.99 | 6.19 | 6.39 | 6.59 | 6.77
 | 120 | 130 | 140 | 150 | 170 | 180 | 190 | 200 | 220 | 230 | 250 | 260 | 270 | 290
The power per channel is approximately 75mW